Bungalow Construction

Part -1

- Site plan

- Floor plan

Floor plan details

- Area: Ground floor = 800 Sqft

First floor = 800 Sqft

Total = 1600 sqft

- Number of Floors: 2

- Number of Bedrooms : 3

- Structure plan

- Type of Construction: Residential

Part -2

- Structure

- Cement :  ( Birla samrat / Birla Unique ).

- Steel :  ( Shyam Steel /TATA/Local ).

- Aggregate : 12 mm & 40 mm.

- Bricks : AAC Block, Red bricks of 1st class & 2nd class.

- RCC Design Mix: M15/M20/M25or as per the structural designer's recommendation.

- Ceiling Height : 10 feet ( Finished floor level to Finished floor level ).

- Tiles (Flooring & wall) : Nitco/Johnson/Kajaria ( Floor tiles sizes : 30x30 cm, 60x60 cm, 80x80 cm, 60x120 cm, 80x160 cm / Wall tiles sizes: 30x60 cm, 40x80 cm, 60x120 cm, 30x45 cm, 80x240 cm, 120x240 cm )

- Doors  :  Flush Door of  Pine & Kapoor wood door frame of  4 inch by 2.5 inch .

- Windows :  UPVC window with glass shutter.

- Electrical : Havells / Reo/ Pritam/ Kolors king.

- Bedroom -1

- One  light point

- One AC point

- One Fan point

- One plug point

- Bedroom -2

- One  light point

- One Fan point

- One plug point

- Bedroom -3

- One  light point

- One AC point

- One Fan point

- One plug point

- DIN CUM KITCHEN

- One  light point

- One Chimney Point

- One plug point

- One mixture point

- LIVING

- One light point

- One Fan point

- One Plug point

- Balcony

- One light point

- One plug point

- PASSAGE

- One light point

- DIN CUM KIT / DRAWING

- One light point

- One plug point

- One fan point

- One mixture point

- Bathroom  -1

- One light point

- One exhaust fan point

- One Geyser point

- Bathroom  -2

- One light point

- One exhaust fan point

- Bathroom  -3

- One light point

- One exhaust fan point

- One Geyser point

- Bathroom  -4

- One light point

- One exhaust fan point

- Staircase

- Two light points

- Two-way switch point

- Plumbing :  Supreme / Finolex / R Classic / Prince .

- Bathroom -1

- One Health fauset

- One Commode

- One tap point

- One Geyser Point

- One Shower

- One Basin point

- Bathroom -2

- One Health fauset

- One Commode

- One tap point

- One Shower

- OBathroom -3

- One Health fauset

- One Commode

- One tap point

- One Geyser Point

- One Shower

- One Basin point

- Bathroom -4

- One Health fauset

- One Commode

- One tap point

- One Shower

- Kitchen

- One tap point

- Point with Sink

- Roof :     Over head water tank

- Paint

- Wall putty (Asian Paint / Nerolac paint / Birla opus )

- Exterior paint (Asian Paint / Nerolac paint / Birla opus )

- Interior paint (Asian Paint / Nerolac paint / Birla opus )